## Test_Record_Date
Title: | FT_Date | Always Add Current Date to Title and Sheets | [6 empty] | Information For Other Sheets:
OPS File: | Test_XXX
Time | Filter | dP (Pa) | Sample | N /cc | N /cc | N /cc | Penetration | Notes | Material Only | dP (Pa) | Sample | N /cc | N /cc | N /cc | Penetration | Notes
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0! |  | material test | X | X |  |  |  | #DIV/0! | 0
| bypass | 0 | X |  |  |  | N/A |  | material test | X | X |  |  |  | #DIV/0! | 0
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A
| material test | X | X |  |  |  | #DIV/0!
| bypass | 0 | X |  |  |  | N/A

## OPS_Results_Date
| Instrument Name | Optical Particle Sizer
| Model Number | 3330
| Serial Number | 3330000000
| Firmware Version | 1.4
| Calibration Date | ########
| Protocol Name_Number | TEST_001
| Test Start Time | 12:33
| Test Start Date | ########
| Test Length [D:H:M:S] | 0:0:48:0
| Sample Interval [H:M:S] | 0:01
| Number Channels Enabled | 16
| Bin 1 Cut Point (um) | 0.3
| Bin 2 Cut Point (um) | 0.374
| Bin 3 Cut Point (um) | 0.465
| Bin 4 Cut Point (um) | 0.579
| Bin 5 Cut Point (um) | 0.721
| Bin 6 Cut Point (um) | 0.897
| Bin 7 Cut Point (um) | 1.117
| Bin 8 Cut Point (um) | 1.391
| Bin 9 Cut Point (um) | 1.732
| Bin 10 Cut Point (um) | 2.156
| Bin 11 Cut Point (um) | 2.685
| Bin 12 Cut Point (um) | 3.343
| Bin 13 Cut Point (um) | 4.162
| Bin 14 Cut Point (um) | 5.182
| Bin 15 Cut Point (um) | 6.451
| Bin 16 Cut Point (um) | 8.031
| Bin 17 Cut Point (um) | 10
| Alarm | 0.000 #/cm3
| Density | 1
| Refractive Index | 0.000-0.000j
| Size Correction Factor | 0
| FlowCal | 1
| DeadTime Correction Factor | 1
Errors
| Number of Samples | 48
|  |  | 0.3 | 0.37 | 0.46 | 0.57 | 0.71 | 0.88 | 1.09 | 1.35 | 1.68 | 2.08 | 2.58 | 3.2 | 3.96 | 4.92 | 6.1 | 7.56 | 9.37
Test | Value | # | Bin 1 | Bin 2 | Bin 3 | Bin 4 | Bin 5 | Bin 6 | Bin 7 | Bin 8 | Bin 9 | Bin 10 | Bin 11 | Bin 12 | Bin 13 | Bin 14 | Bin 15 | Bin 16 | Bin 17
bypass | Number concentration (#/cc) | 11 | 645853 | 357868 | 200133 | 70911 | 26469 | 26098 | 7150 | 3975 | 2347 | 615 | 116 | 24 | 6 | 2 | 0 | 0 | 0
SB1-1x | Number concentration (#/cc) | 13 | 268213 | 114243 | 45653 | 12868 | 3684 | 2378 | 497 | 185 | 76 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Penetration (%) |  | 42.32% | 32.74% | 23.59% | 18.89% | 14.68% | 9.596% | 7.275% | 4.899% | 3.338% | 2.549% | 0% | 0% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0!
bypass | Number concentration (#/cc) | 15 | 621639 | 340050 | 186947 | 65295 | 23720 | 23464 | 6513 | 3577 | 2206 | 562 | 101 | 30 | 10 | 2 | 0 | 0 | 0
SB1-2x | Number concentration (#/cc) | 17 | 322638 | 143217 | 59005 | 16316 | 4762 | 3271 | 573 | 233 | 100 | 15 | 1 | 0 | 0 | 0 | 0 | 0 | 0
| Penetration (%) |  | 52.75% | 43.21% | 32.88% | 26.27% | 21.37% | 15.1% | 9.596% | 7.046% | 4.886% | 2.863% | 1.031% | 0% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0!
bypass | Number concentration (#/cc) | 19 | 601625 | 322907 | 171938 | 58909 | 20840 | 19872 | 5429 | 3037 | 1887 | 486 | 93 | 20 | 7 | 5 | 0 | 0 | 0
SB1-3x | Number concentration (#/cc) | 21 | 362399 | 162771 | 69129 | 19928 | 5730 | 4185 | 806 | 410 | 174 | 28 | 4 | 0 | 0 | 0 | 0 | 0 | 0
| Penetration (%) |  | 60.1% | 50.89% | 40.69% | 34.5% | 27.66% | 21.47% | 15.25% | 13.92% | 9.576% | 5.913% | 4.624% | 0% | 0% | 0% | 0% | #DIV/0! | #DIV/0!
bypass | Number concentration (#/cc) | 23 | 604294 | 316754 | 167863 | 56601 | 20590 | 19111 | 5144 | 2853 | 1747 | 461 | 80 | 29 | 7 | 4 | 1 | 0 | 0
SB1-4x | Number concentration (#/cc) | 25 | 208391 | 81811 | 29254 | 7119 | 1771 | 1089 | 180 | 48 | 31 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Penetration (%) |  | 33.97% | 25.02% | 16.74% | 12.03% | 8.285% | 5.37% | 3.251% | 1.523% | 1.64% | 0.8222% | 0% | 0% | 0% | 0% | 0% | #DIV/0! | 0%
bypass | Number concentration (#/cc) | 27 | 622671 | 337341 | 181687 | 61727 | 22162 | 21449 | 5930 | 3450 | 2033 | 512 | 88 | 19 | 10 | 0 | 0 | 0 | 1
SB1-5x | Number concentration (#/cc) | 29 | 177364 | 67977 | 23756 | 5763 | 1394 | 738 | 103 | 42 | 17 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Penetration (%) |  | 28.97% | 20.93% | 13.82% | 10.03% | 6.946% | 3.805% | 1.942% | 1.346% | 0.9242% | 0.6129% | 0% | 0% | 0% | 0% | #DIV/0! | 0% | 0%
bypass | Number concentration (#/cc) | 31 | 601846 | 312170 | 162147 | 53199 | 17975 | 17337 | 4675 | 2792 | 1646 | 467 | 98 | 40 | 4 | 4 | 0 | 1 | 0
SB1-1x-Repeat1 | Number concentration (#/cc) | 33 | 617726 | 325556 | 169036 | 55063 | 18315 | 17509 | 4697 | 2548 | 1615 | 375 | 82 | 12 | 5 | 1 | 0 | 0 | 0
| Penetration (%) |  | 103.4% | 103.6% | 102% | 98.37% | 94.5% | 94.09% | 93.64% | 86.21% | 95.31% | 80.04% | 87.23% | 35.82% | 66.67% | 40% | #DIV/0! | 0% | #DIV/0!
bypass | Number concentration (#/cc) | 35 | 593503 | 316306 | 169241 | 58754 | 20785 | 19881 | 5357 | 3119 | 1743 | 470 | 90 | 27 | 11 | 1 | 0 | 0 | 0
SB1-2x-Repeat1 | Number concentration (#/cc) | 37 | 541422 | 274543 | 135085 | 43714 | 14040 | 11814 | 2629 | 1289 | 653 | 116 | 12 | 1 | 0 | 0 | 0 | 0 | 0
| Penetration (%) |  | 90.28% | 85.86% | 79.41% | 74.39% | 67.02% | 59.43% | 48.5% | 41.74% | 36.17% | 23.89% | 12.7% | 4.545% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0!
bypass | Number concentration (#/cc) | 39 | 605952 | 323215 | 170977 | 58777 | 21112 | 19880 | 5484 | 3057 | 1868 | 501 | 99 | 17 | 6 | 4 | 0 | 0 | 0
SB1-3x-Repeat1 | Number concentration (#/cc) | 41 | 586769 | 306586 | 158671 | 52719 | 18199 | 16136 | 3942 | 2094 | 1270 | 252 | 51 | 9 | 1 | 0 | 0 | 0 | 0
| Penetration (%) |  | 98.65% | 97.01% | 94.88% | 91.53% | 88.91% | 84.91% | 74.55% | 71.16% | 71.37% | 52.28% | 52.85% | 41.86% | 10.53% | 0% | 0% | #DIV/0! | #DIV/0!
bypass | Number concentration (#/cc) | 44 | 583649 | 308856 | 163503 | 56424 | 19824 | 18128 | 5092 | 2828 | 1691 | 463 | 94 | 26 | 13 | 2 | 1 | 0 | 0
SB1-4x-Repeat1 | Number concentration (#/cc) | 46 | 546029 | 286335 | 149040 | 50384 | 17175 | 15567 | 4027 | 2188 | 1259 | 289 | 33 | 16 | 3 | 0 | 0 | 0 | 0
| Penetration (%) |  | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0!
bypass | Number concentration (#/cc) | 48 | 590302 | 312361 | 163726 | 56313 | 19610 | 18424 | 4920 | 2854 | 1656 | 445 | 95 | 28 | 1 | 3 | 2 | 0 | 0
SB1-5x-Repeat1 | Number concentration (#/cc)
Penetration (%)
bypass | Number concentration (#/cc)
Number concentration (#/cc)
Penetration (%)
bypass | Number concentration (#/cc)
SB1-1x-Repeat2 | Number concentration (#/cc)
Penetration (%)
bypass | Number concentration (#/cc)
SB1-2x-Repeat2 | Number concentration (#/cc)
Penetration (%)
bypass | Number concentration (#/cc)
SB1-3x-Repeat2 | Number concentration (#/cc)
Penetration (%)
bypass | Number concentration (#/cc)
SB1-4x-Repeat2 | Number concentration (#/cc)
Penetration (%)
bypass | Number concentration (#/cc)
SB1-5x-Repeat2 | Number concentration (#/cc)
Penetration (%)
bypass | Number concentration (#/cc)
Number concentration (#/cc)
Penetration (%)
Number concentration (#/cc)
Number concentration (#/cc)
Penetration (%)
Number concentration (#/cc)
Number concentration (#/cc)
Penetration (%)
Number concentration (#/cc)
Number concentration (#/cc)
Penetration (%)
Number concentration (#/cc)
Number concentration (#/cc)
Penetration (%)
Number concentration (#/cc)
Number concentration (#/cc)
Penetration (%)
Number concentration (#/cc)
Number concentration (#/cc)
| Penetration (%) | NA | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
bypass | Number concentration (#/cc)
Number concentration (#/cc)
| Penetration (%) | NA | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
bypass | Number concentration (#/cc)
Number concentration (#/cc)
| Penetration (%) | NA | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Summary_MM_Date
Aerosols Laboratory, UBC Mechanical Engineering
Respiratory filtration testing
Report date | 2021-05-28
Test | Mask paper repeatability
Examiner | Hamed Nikookar - Thomas Bement
Method | Light spectrometery by Optical particle sizer (OPS)
Test Record Information |  |  |  | Size dependent penetration | [16 empty] | Other
Sizes of lower bin ends (um)
Test No. | Filter type | Pressure Drop (pa) | Total penetration (number) (%) | 0.3 | 0.37 | 0.46 | 0.57 | 0.71 | 0.88 | 1.09 | 1.35 | 1.68 | 2.08 | 2.58 | 3.2 | 3.96 | 4.92 | 6.1 | 7.56 | 9.37 | Quality factor (channel 9) | Notes
1 | material test | X | #DIV/0! | 42.32% | 32.74% | 23.59% | 18.89% | 14.68% | 9.596% | 7.275% | 4.899% | 3.338% | 2.549% | 0% | 0% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | 0
2 | material test | X | #DIV/0! | 52.75% | 43.21% | 32.88% | 26.27% | 21.37% | 15.1% | 9.6% | 7.05% | 4.89% | 2.86% | 1.03% | 0% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | 0
3 | material test | X | #DIV/0! | 60.1% | 50.89% | 40.69% | 34.5% | 27.66% | 21.47% | 15.25% | 13.92% | 9.58% | 5.91% | 4.62% | 0% | 0% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
4 | material test | X | #DIV/0! | 33.97% | 25.02% | 16.74% | 12.03% | 8.28% | 5.37% | 3.25% | 1.52% | 1.64% | 0.82% | 0% | 0% | 0% | 0% | 0% | #DIV/0! | 0% | #VALUE! | 0
5 | material test | X | #DIV/0! | 28.97% | 20.93% | 13.82% | 10.03% | 6.946% | 3.805% | 1.942% | 1.346% | 0.9242% | 0.6129% | 0% | 0% | 0% | 0% | #DIV/0! | 0% | 0% | #VALUE! | 0
6 | material test | X | #DIV/0! | 103.4% | 103.6% | 102% | 98.37% | 94.5% | 94.09% | 93.64% | 86.21% | 95.31% | 80.04% | 87.23% | 35.82% | 66.67% | 40% | #DIV/0! | 0% | #DIV/0! | #VALUE! | 0
7 | material test | X | #DIV/0! | 90.28% | 85.86% | 79.41% | 74.39% | 67.02% | 59.43% | 48.5% | 41.74% | 36.17% | 23.89% | 12.7% | 4.545% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | 0
8 | material test | X | #DIV/0! | 98.65% | 97.01% | 94.88% | 91.53% | 88.91% | 84.91% | 74.55% | 71.16% | 71.37% | 52.28% | 52.85% | 41.86% | 10.53% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
9 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
10 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
11 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
12 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
13 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
14 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
15 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
16 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
17 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
18 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
19 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
20 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
21 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
22 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
23 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
24 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
25 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
26 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
27 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
28 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
29 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
30 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
31 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
32 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
33 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
34 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
35 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
36 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
37 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
38 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
39 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
40 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
41 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
42 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
43 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
44 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
45 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
46 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
47 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
48 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
49 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0
50 | material test | X | #DIV/0! | 93.02% | 92.19% | 91.09% | 89.38% | 87.11% | 85.18% | 80.44% | 77.02% | 75.23% | 63.66% | 34.92% | 59.26% | 42.86% | 0% | 0% | #DIV/0! | #DIV/0! | #VALUE! | 0

## Export_Test_Date
Filter | dP (Pa) | Sample
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X
material test | X | X
bypass | 0 | X